REQUEST FOR PROPOSAL (RFP) 26-012

Stauffacher Sloped Roof Replacement

State Fair Community College

2026

- GENERAL DESCRIPTION

State Fair Community College (SFCC) is seeking qualified contractors to provide all labor, materials, and equipment required for the removal of existing roofing materials down to the surface decking and install new 60 mil roofing system. Job site is located in Sedalia, Missouri. The intent of this project is to ensure a durable, low-maintenance, and professional-grade roofing surface suitable for all weather events and conditions

- PROJECT LOCATION

State Fair Community College

Stauffacher Center for Fine Arts

3201 West 16th Street

Sedalia, MO  6501

- PROJECT SCHEDULE

- Work can commence immediately upon contract award and notice to proceed.

- Proposals must include a timeline with the number of working days required to complete the project from start to finish, including mobilization and product lead times.

- Normal Business Hours consists of Monday thru Friday 8am – 5pm, if work needs to be conducted outside normal business hours prior approval will be required.

- PROPOSAL REQUIRMENTS

- The contractor shall provide a detailed project plan including an estimated timeline from start to finish.

- A list of similar refinishing projects completed in the past 24 months

- Contact information for at least three (3) references from recent clients

- Detailed description of materials and equipment to be used to include Safety Data Sheets and Manufactures Instructions.

- Company safety policy to include working at heights.

- Warranty information on workmanship and materials.

- Business Insurance policy information (Name/Policy number)

- Total project cost to include labor, materials, Alternates, and any optional services.

- Alternate should be included for full and patrial decking replacement if required. Inspection shall be conducted during the demolition phase with the Contracted Site Supervisor and SFCC Facilities Director.

- EVALUATION CRITERIA

- Experience and qualifications

- Quality and completeness of proposal

- References and prior work

- Cost and timeline

- Product specifications and finish quality

- SCOPE OF WORK

  - Site Preparation

    - Conduct site inspection and safety assessment prior to work commencing each day.

    - All work shall conform with NRCA and ASTM standards

    - Establish mobilization/staging area.

    - Remove and properly dispose of existing roof covering, adhesive materials, flashing, gutters, downspouts, and any faulty decking hardware.

    - Prepare deck surface per manufacturer specs and industry standards

    - All efforts shall be made to keep the job site safe and secure daily.

    - Debris should be kept to a minimum and the surrounding areas shall be kept clean for the entirety of the project.

- Site Demolition

  - Supply dumpster for material disposal during all phases of project.

  - Remove existing roof system down to decking

  - Remove all existing metal trim, flashing, coping, gutters, and downspouts.

  - Clean and inspect current roof decking material to ensure suitability for new roof installation. If decking replacement is required a change order shall be submitted and approved prior to moving forward.

- Roof Installation

    - Mechanically attach ½” gypsum boards per industry standards.

    - Install new roof covering system to include flashing, coping, trim, gutters, and down spouts.

    - Upon completion and prior to acceptance of work an inspection shall be conducted with Contractors designated representative and SFCC Facilities Director.

- Materials and Standards

    - 60 Mil single ply Ketone Ethylene Ester (KEE) roof covering system

    - ½” gypsum boards mechanically attached.

    - 24-gauge prefinished metal (color choice selected by owner).

    - 30-year labor and materials warranty

- MANUFACTURES INSTRUCTIONS

- Where installation procedures are required to be in accordance with the instructions of the manufacturer for material/equipment being installed, printed copies of these instructions and/or recommendations shall be furnished to Justin H. David, SFCC Director of Facilities prior to installation. Installation of the item will not be allowed until the instruction and/or recommendations are received. Failure to furnish these documents may cause for rejection of the material. With this submittal, explicitly identify in writing, any differences between manufacturer's instructions and the requirements specified herein.

- REGULATIONS WHILE ONBOARD SFCC PROPERTY

- The construction site shall always be maintained in a clean condition. This includes daily clean-ups of the construction and storage areas. The site shall be well lit and well barricaded/cordoned off as appropriate.

- SFCC is a tobacco, alcohol, and drug free campus.

- Contractors shall maintain safe speed. No use of cell phones are permitted while driving vehicles or operating heavy machinery. All personnel shall obey all marked traffic signals including stop signs & stop lights, all vehicles used on SFCC property shall be licensed and insured.

- Absolutely no firearms or weapons of any kind are allowed on SFCC property.

- In the case of gale force or stronger winds, or other inbound natural disasters, the contractor shall take every practicable precaution to minimize the danger to people, to work, and the adjacent property.  These precautions shall include closing all openings, removing all loose materials, tools, and equipment from exposed locations, and removing or securing scaffolding, securing field trailers, and other appropriate equipment and other temporary work.

- The contractor shall provide a consolidated list of all contracted personnel including their driver’s license numbers (or other valid gov’t issued ID number) who will be working on any SFCC Facilities either the day of or prior to the notice to proceed date.

- INSPECTION AND ACCEPTANCE

- The Director of Facilities (Justin H. David) or designated SFCC Representative has the right to reject defective workmanship, materials or work not performed as per the project specifications. Only an SFCC designated representative may accept work performed by the contractor.

- SAFETY

- During the execution of this contract, the Contractor shall conform to the rules and regulations as set forth by OSHA Safety and Health Standards, 29 CFR Part 1926 - Safety and Health Regulations for Construction.  The contractor shall have a written safety plan in place and provide/utilize all required Personal Protective equipment.  The plan shall unequivocally assign responsibility and authority for safety to the superintendent by name. Immediate notification to SFCC Director of Facilities of work site injuries that occur. Provide two copies of workman’s compensation accident reports by noon of the day following the accident. State Fair Community College reserves the right to bar any workers or supervisors from the premises should they be documented as violating set safety standards and regulations.

- Contractors shall take precautions to minimize ground level and overhead hazards.

- RECYCLING AND REFUSE DISPOSAL

- Minor refuse, excess or waste materials resulting from construction and installation operations will be the responsibility of the contractor. All disposals shall be done in accordance with federal, state, and local laws and regulations. All bulk waste shall be disposed of in a contractor provided receptacle or dumpster.

- EXAMINATION OF SITE

- It is HIGHLY ENCOURAGED that bidders carefully inspect the workplace and verify factors necessary to complete the job to include measurements. A Pre-Bid site visit will be held on March 11th @ 1pm at the Facilities Management Office located in the Physical Plant. Prospective bidders may arrange follow up job site visits by calling the primary points of contact, Christine Brown @ (660) 596-7432 or by e-mail CBrown17@sfccmo.edu or Justin David at (619)788-7170 or by e-mail JDavid@sfccmo.edu at least 3 working days in advance.

- POINTS OF CONTACT

Operations Manager: Christine Brown

Phone: 660-596-7432

Email: CBrown17@sfccmo.edu

Director of Facilities: Justin H. David

Phone: 660-596-7282

Email: JDavid@sfccmo.edu

- SUBMISSION DEADLINE

Please submit all proposals in a sealed envelope clearly marked to identify company name and project if hand delivered to Christine Brown in the Facilities Management Office by 1:00 AM March 31st, 2026. Submissions may be electronic, or hand delivered.

No bid may be withdrawn after the scheduled closing time for receipt of bids for at least thirty days.

The Owner reserves the right to reject any or all bids and to waive any technicalities therein, to determine the lowest responsible bidder.

GENERAL CONDITIONS AND TERMS

- Bids must be signed and submitted on this form.

- Any exceptions must be noted on this form.

- Bid Responses are not valid if unsigned or not received by deadline date.

- Bids may be sent by e-mail to cbrown17@sfccmo.edu

- The College reserves the right to waive any minor technicalities in bids when deemed in the best interest of the institution.

- Per RSMo § 34.040 The College reserves the right to reject any or all bids, in whole or in part, and to accept the bid deemed most advantageous to the institution, even if it is not the lowest bid.

- Per RSMo § 34.042 Award shall be based on the best value to the College, considering factors such as quality, price, vendor reputation, and ability to meet required timelines.

- Per RSMo § 34.070 Preference shall be given to Missouri vendors in accordance with Missouri law, provided their bids are competitive in terms of quality and price.

- Per RSMo § 34.353 Preference will be given to products manufactured in the United States, provided the quality and price are comparable to non-domestic goods.

- The College shall not discriminate based on race, color, religion, sex, national origin, or other legally protected categories when evaluating bids.

- Vendors must comply with all applicable federal, state, and local laws and regulations, including the

Americans with Disabilities Act (ADA), as amended.

- Vendors must comply with all applicable federal and state affirmative action requirements and must

- not discriminate in hiring or employment practices.

- The College encourages participation by local, minority-owned, and women-owned businesses.

- Vendors must disclose any potential conflicts of interest involving current or former College employees or Board members.

- College does not prepay or accept COD shipments on awarded bids.  Payment terms will be net 30 after acceptable receipt of goods. Vendor response to this Bid Request indicates Vendor accepts College payment policies and purchasing Terms and Conditions.

BID RESPONSE DEADLINE: All bids must be received in the Facilities Management Office no later than 1:00 PM. CDT on

March 31, 2026

(Please print)

Name: 					             Signature:

Phone:  					Email:

Date:  			(Prices good for 60 days.)